{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["客户"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"客户","index":0,"n_rows":10,"n_cols":9,"rows_kept":10,"merged":[[0,0,0,8],[9,0,9,8]],"flags":["formulas_cached_only"]}
["水电4教考场监控安装改造"]
["序号","货物名称","数量","单位","品牌","技术参数","单价(元）","合计（元）","备注"]
[1,"监控安装",18,"个",null,"含设备，重新布线， 1楼：1一3，1一4；6楼（5间）：6-4、6-5、6-6、6-7、6-8；7楼（3间）7-6、7-7、7-8；8楼8间，监控18个安装调试，加入标准化考场。所有设备安装完成后，与标准化考场设备联调，品牌保证与标准化考场系统兼容，符合招生考试院要求。"]
[2,"电源线",100,"米",null,"RVV 2*2.5mm，含安装"]
[3,"监控视频线",2800,"米",null,"SYV75-5 128编纯铜，含安装"]
[4,"喇叭线",100,"米",null,"RVV 2*1.5mm，含安装"]
[5,"喇叭",1,"个",null,"新增一楼大厅，，含安装"]
[6,"辅助材料",1,"批",null,"排插、线管、线槽、扎带线槽、波纹管、电工材料、五金配件等施工所需的各种材料。"]
[null,"小计"]
["报价单位（名称）：                                       联系人：            联系电话："]