{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["Chart3","Chart2","Chart1","Sheet1 "],"not_rendered":{"charts":3,"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Chart3","index":0,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Chart2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Chart1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet1 ","index":3,"n_rows":21,"n_cols":7,"rows_kept":21,"merged":[[0,0,0,6]]}
["长堽校区水电实训楼五层改建健身活动中心工程清单"]
["序号","单项名称","工程量","单位","单价（元）","合计（元）","备   注"]
[1,"拆除原铁门",{"v":7,"d":"7.00"},"樘",null,null,"自行处理"]
[2,"门边修补",{"v":35.7,"d":"35.70"},"m",null,null,"水泥砂浆"]
[3,"门框灌注混凝土",{"v":7,"d":"7.00"},"樘",null,null,"C20"]
[4,"防盗门安装",{"v":7,"d":"7.00"},"樘",null,null,"规格960*2010mm；内平开式；防盗等级为乙级；不锈钢门把手门锁；1.0/2.0mm钢板；不锈钢铰链"]
[5,"不锈钢护栏制作及安装",{"v":30,"d":"30.00"},"m",null,null,"304不锈钢材质，距地150cm高，横杆A60*1.2mm不锈钢圆管两端膨胀螺栓固定含弯头、装饰盖等配件"]
[6,"室内墙面天花刮腻子",836.61,"㎡",null,null,"含铲除部分旧腻子，新刮腻子两道"]
[7,"灯具安装",{"v":28,"d":"28.00"},"套",null,null,"LED光源，双管支架"]
[8,"开关插座安装",{"v":51,"d":"51.00"},"个",null,null,"10A五孔插座及开关"]
[9,"原灯具拆除",{"v":28,"d":"28.00"},"盏",null,null,"自行清理"]
[10,"空调线路安装",{"v":200,"d":"200.00"},"m",null,null,"ZR-BV-4mm2铜芯电线"]
[11,"空调插座安装",{"v":6,"d":"6.00"},"个",null,null,"16A五孔"]
[12,"供电线路安装",{"v":800,"d":"800.00"},"m",null,null,"ZR-BV-2.5mm2铜芯电线"]
[13,"线槽线管安装",{"v":60,"d":"60.00"},"m",null,null,"PVC"]
[14,"洗手柜",{"v":1,"d":"1.00"},"套",null,null,"60cm,铝材吊柜式，含龙头、下水器、镜子等配件"]
[15,"排水管",{"v":5,"d":"5.00"},"m",null,null,"含钻孔及直接、弯头等相关配件"]
[16,"供水管安装",{"v":30,"d":"30.00"},"m",null,null,"PPR，含直接、弯头、变通等配件"]
[17,"材料上下楼",{"v":1,"d":"1.00"},"项",null,null,"人工搬运"]
[18,"卫生保洁",{"v":1,"d":"1.00"},"项"]
[19,"垃圾清理外运",{"v":1,"d":"1.00"},"车"]