{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["长岗校区办公楼"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"长岗校区办公楼","index":0,"n_rows":15,"n_cols":8,"rows_kept":15,"merged":[[0,0,0,7]],"flags":["formulas_cached_only"]}
["长堽校区办公楼网络综合布线工程清单"]
["序号","设备名称","品牌、型号","参数规格","单位","数量","单价（元)","小计（元)"]
[1,"六类类信息模块","AMP六类模块","含面板、底座","套",45]
[2,"六类非屏蔽网线","AMP六类网线","千兆非屏蔽网线","箱",8]
[3,"六类跳线","AMP六类跳线","1米千兆非屏蔽跳线","条",45]
[4,"配线架","AMP配线架","AMP六类24口配线架（含24个信息模块）","个",2]
[5,"理线架","AMP理线架","AMP理线架","个",2]
[6,"水晶头","AMP六类水晶头","AMP六类非屏蔽水晶头","盒",1]
[7,"30线槽","联塑 30  PVC线槽","联塑 30*15mm PVC线槽","米",600]
[8,"接入交换机","华为 S5720S-28P-SI-AC","华为（HUAWEI）S5720S-28P-SI-AC 28口千兆以太网交换机 ","台",1]
[9,"布线辅材","定制","PVC线管、线槽，管卡、胶塞、钢钉、自攻钉、电工胶等材料","批",1]
[10,"网线布线施工费","定制","45个信息点，布线、线槽、线管、配线架、打墙洞、安装模块、做标签等","信息点",45]
[11,"单模光模块","华为","华为单芯单模光模块-SFP(1000M 1310nm 10km ）","个",4]
[12,"光缆跳线","D-link","FC-LC 5米","条",8]
[13,"光纤熔接","国标","国标","芯",12]